|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **TRAVANCORE DEVASWOM BOARD** | | | | |
| **WORKS DEPARTMENT** | | | | |
| NOTICE INVITING SHORT QUOTATIONS | | | | |
| TDB/EEK/QN/-2/18-19 |  |  |  |  |
| The Executive Engineer Kottayam on behalf of Travancore Devaswom Board invites sealed Competitive short quotations for the following works from reputed agencies having sufficient experience in carrying out similar work. | | | | |

Name of work:-Sree Dharma Sastha college of Arts and Science Neriyamangalam Soil Investigation and structural design charges for the construction of new building.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sl.  No. | Description | Qty | Rate | Unit |
| 1 | Mobilization including transportation of all necessary plants and equipments and materials of boring field testing and sampling and demobilization after completing the work using machine boring | 1 set |  | Set |
| 2 | Setting up boring ring at each bore hole ocations including carrying all necessary paint equipment and materials of boring and field tests and collecting of samples at each bore hole location | 5 Nos |  | E |
| 3 | Boring with rotary power drilling equipments in all type of soil having N valued less than 50 excluding hard rock, soft rock or medium rock for strata up to 10m including conducting necessary SPT and recovery of undisturbed soil samples at 5m intervals | 30.00 M |  | M |
| 4 | Recovering undisturbed soil samples using thin tube sampler of 75mm to 100mm internal dia 500mm length confirming to relevent IS code at any required depth including clearing the bore hole etc. | 15 Nos |  | E |
| 5 | Compilation of all field data with recommendation for a suitable foundation after conducting necessary lab tests (Report in triplicate) | 1 No. |  | E |
| 6 | Structural design of building up to 1000 m2 | 1000 m2 |  | Sqm |
| 7 | structural design charges above 1000m2 | 1405 m2 |  | sqm |

|  |  |
| --- | --- |
| **Quotation No** | **Q-05/EEK/18-19** |
| **EMD** | **Rs. 5,500/-** |
| **Sale of Quotation Documents** | **09.05.'18 Upto 1:00 PM** |
| **Last date of receipt of Quotation** | **09.05.'18 Upto 3:00 PM** |
| **Date and time of opening of Quotation** | **09.05.'18, 3:30 PM** |

|  |  |
| --- | --- |
|  | **TERMS AND CONDITONS** 1) The agency should have satisfactorily completed a single work of minimum value of Rs. 3.00 lakhs in any of the previous three financial year. 2) A certificate to this effect for a competent authority should be submitted along with the quotation. 3) If the last date of tender falls on a holiday, the Tender will be received and opened in the next working day at the same time prescribed. 4) All other conditions of invitation of tender in the TDB will be applicable to this tender also. 5) More information is available from the office of the undersigned or from the concerned section office on all working days during office hours.  Sd/- |

Executive Engineer Kottayam Travancore Devaswom Board

02.05.2018 Kottayam. B.